## Asset
Table | Field Desc(En) | Field Name | Field Type | Nullable | FK | Ref Code | Field Desc(Zh)
asset_info
| UUID | id | serial | not null |  |  | 设备唯一标识
|  | site_id | int | not null | site_info
| Name | name | varchar(64) | not null |  |  | 设备名称
| Alias | alias_name | varchar(64) |  |  |  | 设备别名
| FunctionGroup | function_group | int |  |  | asset_function_group | 功能分组
| FunctionType | function_type | int |  |  | asset_function_type | 设备类型
| FunctionGrade | function_grade | int |  |  | asset_function_grade | 功能等级
| Manufacture | manufacture | varchar(64) |  |  |  | 制造商
| Vendor | vendor | varchar(64) |  |  |  | 供应商
| Maitanance | maitanance | varchar(64) |  |  |  | 维修商
| MaitananceTel | maitanance_tel | varchar(32) |  |  |  | 维修电话
| SerialNum | serial_num | varchar(64) |  |  |  | 设备编号（制造商）
| DepartNum | depart_num | varchar(64) |  |  |  | 设备编号（院方）
| FinancingNum | financing_num | varchar(64) |  |  |  | 资产编号
| Barcode | barcode | varchar(64) |  |  |  | 条码
| ClinicalNum | modality_id | varchar(64) |  |  |  | 院内IT系统编号
| LocationCode | location_code | varchar(64) |  |  |  | 安装位置编码
| LocationName | location_name | varchar(64) |  |  |  | 安装位置
| Hospital_id | hospital_id | int | not null | org_info |  | 所属院区
| Department_id | clinical_dept_id | int |  | org_info |  | 所属科室
|  | clinical_dept_name | varchar(64) |  | org_info.name |  | 所属科室
| Group | asset_group | int |  |  | asset_group | 所属设备类型 | 医疗设备分类与编号 目前较提倡的分类法有三大类，即诊断设备类、治疗设备类及辅助设备类。 1、诊断设备类 可分为八类，即X射线诊断设备、超声诊断设备、功能检查设备、内窥镜检查设备、核医学设备、实验诊断设备及病理诊断装备。 2、治疗设备类 可分为10类。 （1）病房护理设备（2）手术设备（3）放射治疗设备（4）核医学治疗设备（5）理化设备（6）激光设备（7）透析治疗设备（8）体温冷冻设备（9）急救设备（10）其它治疗设备 3、辅助设备类 包括消毒灭菌设备、制冷设备、中心吸引及供氧系统、空调设备、制药机械设备、血库设备、医用数据处理设备、医用录像摄影设备等。
|  | asset_dept_id | int | not null | org_info |  | 所属设备科
| Responsible | asset_owner_id | int | not null | user_account |  | 责任人
| Responsible | asset_owner_name | varchar(16) | not null | user_account.name |  | 责任人
| ResponsibleTel | asset_owner_tel | varchar(16) |  |  |  | 责任人电话
| Valid | is_valid | bool | not null |  |  | 是否有效（使用）
| Status | status | int | not null |  | asset_status | 当前状态（Up/Down/Partial/...）
| ManufactDate | manufact_date | date |  |  |  | 出厂日期
| PurchaseDate | purchase_date | date |  |  |  | 购买日期
| ArriveDate | arrive_date | date |  |  |  | 到货日期
| InstallDate | install_date | date |  |  |  | 安装日期
| WarrantyDate | warranty_date | date |  |  |  | 保证截止日期
| TerminateDate | terminate_date | date |  |  |  | 报废日期
| PlanDate | last_pm_date | date |  |  |  | 计划内最近一次维护日期
|  | last_metering_date | date |  |  |  | 上次计量日期
|  | last_qa_date | date |  |  |  | 上次质控日期
| PurchasePrice | purchase_price | float |  |  |  | 采购价格
| SalvageValue | salvage_value | float |  |  |  | 最终残值
| Lifecycle | lifecycle | int |  |  |  | 使用年限
| DepreciationMethod | depreciation_method | int |  |  | depreciation_method | 折旧算法（1 平均 2 加速双倍余额 3 加速年限）
asset_file_attachment |  | asset_file_attachment
|  | id | serial | not null
|  | site_id | int | not null
|  | name | varchar(64) | not null
|  | file_type | varchar(64) | not null |  | 照片/合同/用户手册
|  | file_url | varchar(128) | not null

## AssetDeprecation
Table | Field Desc(En) | Field Name | Field Type | Nullable | FK | Ref Code | Field Desc(Zh)
asset_deprecation
|  | id | serial | not null
|  | site_id | int | not null | site_info
|  | asset_id | int | not null | asset_info |  | 设备ID
|  | deprecate_date | date | not null |  |  | 折旧日期
|  | deprecate_amount | float | not null |  |  | 折旧值

## InspectionCheckList
Table | Field Desc(En) | Field Name | Field Type | Nullable | FK | Ref Code | Field Desc(Zh)
inspection_checklist
|  | id | serial | not null
|  | site_id | int | not null | site_info
| AssetUUID | asset_id | int | not null | asset_info |  | 设备ID
|  | checklist_type | int | not null |  |  | checklist类型(巡检/质控/计量)
| Item | item | varchar(64) | not null |  |  | 巡检项目
|  | display_order | int | not null |  |  | 排序

## InspectionOrder
Table | Field Desc(En) | Field Name | Field Type | Nullable | FK | Ref Code | Field Desc(Zh)
inspection_order
|  | id | serial | not null
|  | site_id | int | not null | site_info
| AssetUUID | asset_id | int | not null | asset_info |  | 设备ID
| Name | name | varchar(64) | not null |  |  | 工作单名称
| Creator | creator_id | int | not null | user_account |  | 创建方
|  | creator_name | varchar(16) | not null | user_account.name |  | 创建方
| CreateTime | create_time | timestamp | not null | user_account.name |  | 发起（创建）时间
| Owner | owner_id | int | not null | user_account |  | 执行人
| Owner | owner_name | varchar(16) | not null | user_account.name |  | 执行人
| OwnerOrg | owner_org_id | int | not null | org_info |  | 执行人所属厂商??
| OwnerOrg | owner_org_name | varchar(64) | not null | org_info.name |  | 执行人所属厂商??
| StartTime | start_time | timestamp |  |  |  | 执行开始时间
| EndTime | end_time | timestamp |  |  |  | 执行结束时间
| Finished | is_finished | bool | not null |  |  | 是否完成
| Comments | comments | varchar(256) |  |  |  | 结论
| PaperUrl | paper_url | varchar(128) |  |  |  | 扫描件上传（备用）

## InspectionOrderDetail
Table | Field Desc(En) | Field Name | Field Type | Nullable | FK | Ref Code | Field Desc(Zh)
inspection_order_detail
|  | id | serial | not null
|  | site_id | int | not null | site_info
|  | order_id | int | not null | inspection_order
| Department | dept_id | int | not null | org_info |  | 巡检科室
| Department | dept_name | int | not null | org_info |  | 巡检科室
| Item | item_id | int | not null | inspection_check_list |  | 巡检项目
| Item | item_name | int | not null | inspection_check_list |  | 巡检项目
| Passed | is_passed | bool | not null |  |  | 是否通过

## PMOrder
Table | Field Desc(En) | Field Name | Field Type | Nullable | FK | Ref Code | Field Desc(Zh)
pm_order
|  | id | serial | not null
|  | site_id | int | not null | site_info
|  | hospital_id | int | not null | org_info
|  | asset_id | int | not null | asset_info
|  | asset_name | varchar(64) | not null | asset_info
| Name | name | varchar(64) | not null |  |  | 工作单名称
| Creator | creator_id | int | not null | user_account |  | 创建方
|  | creator_name | varchar(16) | not null | user_account.name
| CreateTime | create_time | timestamp | not null |  |  | 发起（创建）时间
| Owner | owner_id | int |  | user_account |  | 执行人
|  | owner_name | varchar(16) |  | user_account.name |  | 执行人
|  | owner_org_id | int |  | org_info |  | 执行人所属厂商
| OwnerOrg | owner_org_name | varchar(64) |  | org_info |  | 执行人所属厂商
| StartTime | start_time | timestamp |  |  |  | 执行开始时间
| EndTime | end_time | timestamp |  |  |  | 执行结束时间
| Finished | is_finished | bool | not null |  |  | 是否完成
| Comments | comments | varchar(256) |  |  |  | 结论
| NextPlanTime | next_time | timestamp |  |  |  | 下次计划时间
| ReportUrl | report_url | varchar(128) |  |  |  | 维护报告

## WorkOrder
Table | Field Desc(En) | Field Name | Field Type | Nullable | FK | Ref Code | Field Desc(Zh)
work_order
|  | id | serial | not null
|  | site_id | int | not null | site_info
|  | hospital_id | int | not null | org_info
|  | asset_id | int | not null | asset_info
|  | asset_name | varchar(64) | not null | asset_info
| Name | name | varchar(32) | not null |  |  | （维修）工单名称
| Creator | creator_id | int | not null | user_account
|  | creator_name | varchar(16) | not null | user_account.name
| CreateTime | create_time | timestamp | not null |  |  | 发起（创建）时间
| Requestor | requestor_id | int | not null | user_account |  | 报修人
|  | requestor_name | varchar(16) | not null | user_account.name
| RequestTime | request_time | timestamp | not null |  |  | 报修时间
| RequestReason | request_reason | varchar(256) | not null |  |  | 故障现象
| CaseOwner | case_owner_id | int |  | user_account |  | 负责人
|  | case_owner_name | varchar(16) |  | user_account.name |  | 负责人
| CaseType | case_type | int |  |  | case_type | 故障类别
| CaseSubType | case_sub_type | int |  |  | case_sub_type | 故障子类别
| CasePriority | case_priority | int | not null |  | case_priority | 紧急程度
| isInternal | is_internal | bool | not null |  |  | 是否内部工单？
| CurrentPerson | current_person_id | int | not null | user_account |  | 当前处理人
|  | current_person_name | varchar(16) |  | user_account.name
| CurrentStep | current_step | int | not null |  | work_order_step | 当前处理步骤(报修/审核，审批/派工/领工/维修/关单)
| Closed | is_closed | bool | not null |  |  | 是否已关单
| CloseReason | close_reason | varchar(256) |  |  |  | 关单原因
| Comments | comments | varchar(256) |  |  |  | 备注
| TotalManHour | total_man_hour | int |  |  |  | 总计人工
| TotalPrice | total_price | float |  |  |  | 总计费用
|  | confirmed_down_time | timestamp |  |  |  | 确认的停机时间
|  | confirmed_up_time | timestamp |  |  |  | 确认的恢复可用时间

## WorkOrderHistory
Table | Field Desc(En) | Field Name | Field Type | Nullable | FK | Ref Code | Field Desc(Zh)
work_order_history
|  | id | serial | not null
|  | site_id | int | not null | site_info
|  | asset_id | int | not null | asset_info
| WOCode | work_order_id | int | not null | work_order |  | 对应工单
|  | update_person_id | int | not null | user_account.id |  | 变更人
|  | update_person_name | varchar(16) | not null | user_account.name |  | 变更人
| UpdateTime | update_time | timestamp | not null |  |  | 处理时间
| UpdateDetail | update_detail | varchar(512) | not null |  |  | 变更内容描述

## WorkOrderStep
Table | Field Desc(En) | Field Name | Field Type | Nullable | FK | Ref Code | Field Desc(Zh)
work_order_step
|  | id | serial | not null
|  | site_id | int | not null | site_info
| WOCode | work_order_id | int | not null | work_order |  | 对应工单
|  | step_id | int | not null
| StepName | step_name | varchar(32) | not null |  |  | 步骤名称
| Person | owner_id | int | not null | user_account |  | 责任人
|  | owner_name | varchar(16) | not null | user_account.name
| StartTime | start_time | timestamp | not null |  |  | 开始时间
| EndTime | end_time | timestamp | not null |  |  | 结束时间
| Description | description | varchar(128) |  |  |  | 处理描述
| AttachmentUrl | attachment_url | varchar(128) |  |  |  | 上传附件

## WorkOrderStepDetail
Table | Field Desc(En) | Field Name | Field Type | Nullable | FK | Ref Code | Field Desc(Zh)
work_order_step_detail
|  | id | serial | not null
|  | site_id | int | not null | site_info
| StepCode | step_id | int | not null | work_order_step |  | 对应工单步骤编号
| ManHour | man_hours | int |  |  |  | 工时
| Accessory | accessory | varchar(60) |  |  |  | 备件
| AccessoryQuantity | accessory_quantity | int |  |  |  | 备件数量
| AccessoryPrice | accessory_price | float |  |  |  | 备件单价

## AssetClinicalRecord
Table | Field Desc(En) | Field Name | Field Type | Nullable | FK | Ref Code | Field Desc(Zh)
asset_clinical_record
|  | id | serial | not null
|  | site_id | int | not null | site_info
|  | hospital_id | int | not null | org_info
| AssetUUID | asset_id | int | not null | asset_info
| ModilityID | modality_id | int | not null |  |  | RIS设备ID
| ModilityType | modality_type_id | int | not null |  |  | 设备类型
|  | modality_type | varchar(32) | not null |  |  | 设备类型
|  | procedure_id | int | not null |  |  | 检查部位
|  | procedure_name | varchar(32) | not null |  |  | 检查部位
|  | procedure_step_id | int | not null |  |  | 检查步骤
| ProcedureStepName | procedure_step_name | varchar(32) | not null |  |  | 检查步骤
| PriceAmount | price_amount | float |  |  |  | 价格
| PriceUnit | price_unit | int |  |  |  | 单位（可以不需要）
| PatientID | patient_id | varchar(64) |  |  |  | 患者信息
| PatientNameChinese | patient_name_zh | varchar(32) |  |  |  | 姓名
| PatientNameEnglish | patient_name_en | varchar(32) |  |  |  | 姓名
| PatientAge | patient_age | varchar(32) |  |  |  | 年龄
| PatientGender | patient_gender | int |  |  |  | 性别
| InjectCount | inject_count | float |  |  |  | 注射量
| ExposeCount | expose_count | float |  |  |  | 曝光量
| FilmCount | film_count | int |  |  |  | 胶片量
| ExamDate | exam_date | date | not null |  |  | 检查时间信息
| ExamStartTime | exam_start_time | time | not null |  |  | 开始时间
| ExamEndTime | exam_end_time | time | not null |  |  | 结束时间

## Supplier(备用)
Table | Field Desc(En) | Field Name | Field Type | Nullable | FK | Ref Code | Field Desc(Zh)
supplier
|  | id | serial | not null
|  | site_id | int | not null | site_info
| Name | name | varchar(64) | not null |  |  | 供应商名称
| City | city | varchar(32) |  |  |  | 城市
| Address | address | varchar(128) |  |  |  | 地址
| Zipcode | zipcode | varchar(16) |  |  |  | 邮编
| Contactor | contactor | varchar(16) |  |  |  | 联系人姓名
| Tel | tel | varchar(16) |  |  |  | 电话

## AllFieldList
180 | field_name | accessory | 备件 | Accessory
181 | field_name | accessoryPrice | 备件单价 | Accessory Price
182 | field_name | accessoryQuantity | 备件数量 | Accessory Quantity
183 | field_name | address | 地址 | Address
184 | field_name | aliasName | 设备别名 | Alias Name
185 | field_name | arriveDate | 到货日期 | Arrive Date
186 | field_name | assetDeptId | 所属设备科 | Asset Dept Id
187 | field_name | assetGroup | 所属设备类型 | Asset Group
188 | field_name | assetId | 设备ID | Asset Id
189 | field_name | assetOwnerId | 责任人 | Asset Owner Id
190 | field_name | assetOwnerName | 责任人 | Asset Owner Name
191 | field_name | assetOwnerTel | 责任人电话 | Asset Owner Tel
192 | field_name | attachmentUrl | 上传附件 | Attachment Url
193 | field_name | barcode | 条码 | Barcode
194 | field_name | caseOwnerId | 负责人 | Case Owner Id
195 | field_name | caseOwnerName | 负责人 | Case Owner Name
196 | field_name | casePriority | 紧急程度 | Case Priority
197 | field_name | caseSubType | 故障子类别 | Case Sub Type
198 | field_name | caseType | 故障类别 | Case Type
199 | field_name | city | 城市 | City
200 | field_name | clinicalDeptId | 所属科室 | Clinical Dept Id
201 | field_name | clinicalDeptName | 所属科室 | Clinical Dept Name
202 | field_name | closeReason | 关单原因 | Close Reason
203 | field_name | comments | 结论 | Comments
204 | field_name | confirmedEndTime | 确认的恢复可用时间 | Confirmed End Time
205 | field_name | confirmedStartTime | 确认的停机时间 | Confirmed Start Time
206 | field_name | contactor | 联系人姓名 | Contactor
207 | field_name | createTime | 创建时间 | Create Time
208 | field_name | creatorId | 创建方 | Creator Id
209 | field_name | creatorName | 创建方 | Creator Name
210 | field_name | currentPersonId | 当前处理人 | Current Person Id
211 | field_name | currentPersonName | 当前处理人 | Current Person Name
212 | field_name | currentStep | 当前处理步骤 | Current Step
213 | field_name | departNum | 设备编号（院方） | Depart Num
214 | field_name | depreciationMethod | 折旧算法 | Depreciation Method
215 | field_name | deptId | 巡检科室 | Dept Id
216 | field_name | deptName | 巡检科室 | Dept Name
217 | field_name | description | 处理描述 | Description
218 | field_name | endTime | 结束时间 | End Time
219 | field_name | examDate | 检查日期 | Exam Date
220 | field_name | examEndTime | 结束时间 | Exam End Time
221 | field_name | examStartTime | 开始时间 | Exam Start Time
222 | field_name | exposeCount | 曝光量 | Expose Count
223 | field_name | fileType | 文件类型 | File Type
224 | field_name | fileUrl | 文件路径 | File Url
225 | field_name | filmCount | 胶片量 | Film Count
226 | field_name | financingNum | 资产编号 | Financing Num
227 | field_name | functionGrade | 功能等级 | Function Grade
228 | field_name | functionGroup | 功能分组 | Function Group
229 | field_name | functionType | 设备类型 | Function Type
230 | field_name | hospitalId | 所属院区 | Hospital Id
231 | field_name | injectCount | 注射量 | Inject Count
232 | field_name | installDate | 安装日期 | Install Date
233 | field_name | isClosed | 是否已关单 | Is Closed
234 | field_name | isFinished | 是否完成 | Is Finished
235 | field_name | isInternal | 是否内部工单？ | Is Internal
236 | field_name | isPassed | 是否通过 | Is Passed
237 | field_name | isValid | 是否有效（使用） | Is Valid
238 | field_name | item | 巡检项目 | Item
239 | field_name | itemId | 巡检项目 | Item Id
240 | field_name | itemName | 巡检项目 | Item Name
241 | field_name | lifecycle | 使用年限 | Lifecycle
242 | field_name | locationCode | 安装位置编码 | Location Code
243 | field_name | locationName | 安装位置 | Location Name
244 | field_name | maitanance | 维修商 | Maitanance
245 | field_name | maitananceTel | 维修电话 | Maitanance Tel
246 | field_name | manHours | 工时 | Man Hours
247 | field_name | manufactDate | 出厂日期 | Manufact Date
248 | field_name | manufacture | 制造商 | Manufacture
249 | field_name | modalityId | 院内IT系统编号 | Modality Id
250 | field_name | modalityType | 设备类型 | Modality Type
251 | field_name | modalityTypeId | 设备类型 | Modality Type Id
252 | field_name | name | 设备名称 | Name
253 | field_name | nextTime | 下次计划时间 | Next Time
254 | field_name | ownerId | 执行人 | Owner Id
255 | field_name | ownerName | 责任人 | Owner Name
256 | field_name | ownerOrgId | 执行人所属部门 | Owner Org Id
257 | field_name | ownerOrgName | 执行人所属部门 | Owner Org Name
258 | field_name | paperUrl | 扫描件上传（备用） | Paper Url
259 | field_name | patientAge | 年龄 | Patient Age
260 | field_name | patientGender | 性别 | Patient Gender
261 | field_name | patientId | 患者信息 | Patient Id
262 | field_name | patientNameEn | 姓名 | Patient Name
263 | field_name | patientNameZh | 姓名 | Patient Name
264 | field_name | planDate | 计划内最近一次维护日期 | Plan Date
265 | field_name | priceAmount | 价格 | Price Amount
266 | field_name | priceUnit | 单位 | Price Unit
267 | field_name | procedureId | 检查部位 | Procedure Id
268 | field_name | procedureName | 检查部位 | Procedure Name
269 | field_name | procedureStepId | 检查步骤 | Procedure Step Id
270 | field_name | procedureStepName | 检查步骤 | Procedure Step Name
271 | field_name | purchaseDate | 购买日期 | Purchase Date
272 | field_name | purchasePrice | 采购价格 | Purchase Price
273 | field_name | reportUrl | 维护报告 | Report Url
274 | field_name | requestReason | 故障现象 | Request Reason
275 | field_name | requestTime | 报修时间 | Request Time
276 | field_name | requestorId | 报修人 | Requestor Id
277 | field_name | requestorName | 报修人 | Requestor Name
278 | field_name | salvageValue | 最终残值 | Salvage Value
279 | field_name | serialNum | 设备编号（制造商） | Serial Num
280 | field_name | startTime | 开始时间 | Start Time
281 | field_name | status | 当前状态 | Status
282 | field_name | stepName | 步骤名称 | Step Name
283 | field_name | tel | 电话 | Tel
284 | field_name | terminateDate | 报废日期 | Terminate Date
285 | field_name | totalManHour | 总计人工 | Total Man Hour
286 | field_name | totalPrice | 总计费用 | Total Price
287 | field_name | updateDetail | 变更内容描述 | Update Detail
288 | field_name | updatePersonId | 变更人 | Update Person Id
289 | field_name | updatePersonName | 变更人 | Update Person Name
290 | field_name | updateTime | 处理时间 | Update Time
291 | field_name | vendor | 供应商 | Vendor
292 | field_name | warrantyDate | 保证截止日期 | Warranty Date
293 | field_name | zipcode | 邮编 | Zipcode
| field_name | contactEmail | Email | Contact Email
| field_name | contactPerson | 联系人 | Contact Person
| field_name | contactPhone | 联系电话 | Contact Phone
| field_name | defaultLang | 默认语言 | Default Lang
| field_name | email | Email | Email
| field_name | homePage | 默认首页 | Home Page
| field_name | isActive | 激活? | Active?
| field_name | isEnabled | 启用? | Enabled?
| field_name | isLocalAdmin | 本院管理员 | Local Admin?
| field_name | isOnline | 在线? | Online?
| field_name | isSiteAdmin | Site管理员? | Site Admin?
| field_name | isSuperAdmin | 超级管理员? | Super Admin?
| field_name | lastLoginTime | 上次登录时间 | Last Login Time
| field_name | location | 地点 | Location
| field_name | locationEn | 地点 | Location En
| field_name | nameEn | 名称 | Name En
| field_name | nameEn | 名称(En) | Name En
| field_name | orgId | 所属部门 | Org Id
| field_name | parentId | 上级部门 | Parent Id
| field_name | roleDesc | 角色描述 | Role Desc
| field_name | roleId | 角色 | Role Id
| field_name | telephone | 电话 | Telephone
| field_name | timeZone | 时区 | Time Zone